## Costs
cost_type | costs
Invest | 3899.4945
Fixed | 966.5856
Variable | 16838.2263
Fuel | 0
Start-up | 0
Environmental | 0
Revenue | 0
Purchase | 0

## Process caps
Stf | Site | Process | Total | New
2025 | Bus_1 | SGen_3 | 8.7 | 0
| Bus_10 | SGen_6 | 6.5 | 0
| Bus_15 | Q_feeder_central | 120.72 | 120.72
| Bus_32 | SGen_2 | 8.7 | 0
| Bus_33 | SGen_1 | 6.5 | 0
| Bus_40 | SGen_4 | 128.8 | 0
| Bus_5 | SGen_5 | 13 | 0
| MV1.101 Bus 0 | Slack | 0
|  | feed_in | 0 | 0
|  | import | 400 | 400

## Transmission caps
Stf | Site In | Site Out | Transmission | Commodity | Total | New
2025 | Bus_1 | Bus_12 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_10 | Bus_6 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_11 | Bus_1 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_12 | Bus_3 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_13 | Bus_4 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_14 | Bus_34 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_15 | Bus_29 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
|  | Bus_35 | NAYY 4x150SE 0.6/1kV*1 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 374.123 | 374.123
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
|  | MV1.101 Bus 0 | kont400 | electricity | 400 | 0
|  |  | ront1000 | electricity | 0 | 0
|  |  | ront1250 | electricity | 0 | 0
|  |  | ront160 | electricity | 0 | 0
|  |  | ront1600 | electricity | 0 | 0
|  |  | ront2000 | electricity | 0 | 0
|  |  | ront250 | electricity | 0 | 0
|  |  | ront400 | electricity | 0 | 0
|  |  | ront630 | electricity | 0 | 0
|  |  | ront800 | electricity | 0 | 0
| Bus_16 | Bus_23 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_17 | Bus_5 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_18 | Bus_16 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
|  | Bus_17 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_19 | Bus_9 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_2 | Bus_10 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
|  | Bus_32 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_20 | Bus_25 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_21 | Bus_15 | NAYY 4x150SE 0.6/1kV*1 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 561.1845 | 561.1845
| Bus_22 | Bus_28 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_23 | Bus_11 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_24 | Bus_30 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_25 | Bus_33 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_26 | Bus_20 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_27 | Bus_31 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_28 | Bus_7 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_29 | Bus_14 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_3 | Bus_2 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_30 | Bus_13 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_31 | Bus_18 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_32 | Bus_8 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_33 | Bus_27 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_35 | Bus_36 | NAYY 4x150SE 0.6/1kV*1 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 561.1845 | 561.1845
| Bus_36 | Bus_37 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_37 | Bus_38 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_38 | Bus_39 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
|  | Bus_41 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_39 | Bus_40 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_41 | Bus_42 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_42 | Bus_43 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_5 | Bus_22 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_6 | Bus_24 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_8 | Bus_21 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| Bus_9 | Bus_34 | NAYY 4x150SE 0.6/1kV*1 | electricity | 187.0615 | 0
|  |  | NAYY 4x150SE 0.6/1kV*2 | electricity | 0 | 0
|  |  | NAYY 4x150SE 0.6/1kV*3 | electricity | 0 | 0
| MV1.101 Bus 0 | Bus_15 | kont400 | electricity | 400 | 0
|  |  | ront1000 | electricity | 0 | 0
|  |  | ront1250 | electricity | 0 | 0
|  |  | ront160 | electricity | 0 | 0
|  |  | ront1600 | electricity | 0 | 0
|  |  | ront2000 | electricity | 0 | 0
|  |  | ront250 | electricity | 0 | 0
|  |  | ront400 | electricity | 0 | 0
|  |  | ront630 | electricity | 0 | 0
|  |  | ront800 | electricity | 0 | 0

## Storage caps
Stf | Site | Storage | Commodity | C Total | C New | P Total | P New
2025 | Bus_1 | battery | electricity | 0 | 0 | 0 | 0
| Bus_10 | battery | electricity | 0 | 0 | 0 | 0
| Bus_11 | battery | electricity | 0 | 0 | 0 | 0
| Bus_12 | battery | electricity | 0 | 0 | 0 | 0
| Bus_13 | battery | electricity | 0 | 0 | 0 | 0
| Bus_14 | battery | electricity | 0 | 0 | 0 | 0
| Bus_16 | battery | electricity | 0 | 0 | 0 | 0
| Bus_17 | battery | electricity | 0 | 0 | 0 | 0
| Bus_18 | battery | electricity | 0 | 0 | 0 | 0
| Bus_19 | battery | electricity | 0 | 0 | 0 | 0
| Bus_2 | battery | electricity | 0 | 0 | 0 | 0
| Bus_20 | battery | electricity | 0 | 0 | 0 | 0
| Bus_21 | battery | electricity | 0 | 0 | 0 | 0
| Bus_22 | battery | electricity | 0 | 0 | 0 | 0
| Bus_23 | battery | electricity | 0 | 0 | 0 | 0
| Bus_24 | battery | electricity | 0 | 0 | 0 | 0
| Bus_25 | battery | electricity | 0 | 0 | 0 | 0
| Bus_26 | battery | electricity | 0 | 0 | 0 | 0
| Bus_27 | battery | electricity | 0 | 0 | 0 | 0
| Bus_28 | battery | electricity | 0 | 0 | 0 | 0
| Bus_29 | battery | electricity | 0 | 0 | 0 | 0
| Bus_3 | battery | electricity | 0 | 0 | 0 | 0
| Bus_30 | battery | electricity | 0 | 0 | 0 | 0
| Bus_31 | battery | electricity | 54.6506 | 54.6506 | 27.3253 | 27.3253
| Bus_32 | battery | electricity | 0 | 0 | 0 | 0
| Bus_33 | battery | electricity | 0 | 0 | 0 | 0
| Bus_34 | battery | electricity | 0 | 0 | 0 | 0
| Bus_35 | battery | electricity | 0 | 0 | 0 | 0
| Bus_36 | battery | electricity | 0 | 0 | 0 | 0
| Bus_37 | battery | electricity | 28.3894 | 28.3894 | 14.1947 | 14.1947
| Bus_38 | battery | electricity | 0 | 0 | 0 | 0
| Bus_39 | battery | electricity | 0 | 0 | 0 | 0
| Bus_4 | battery | electricity | 0 | 0 | 0 | 0
| Bus_40 | battery | electricity | 0 | 0 | 0 | 0
| Bus_41 | battery | electricity | 0 | 0 | 0 | 0
| Bus_42 | battery | electricity | 0 | 0 | 0 | 0
| Bus_43 | battery | electricity | 0 | 0 | 0 | 0
| Bus_5 | battery | electricity | 0 | 0 | 0 | 0
| Bus_6 | battery | electricity | 0 | 0 | 0 | 0
| Bus_7 | battery | electricity | 0 | 0 | 0 | 0
| Bus_8 | battery | electricity | 0 | 0 | 0 | 0
| Bus_9 | battery | electricity | 0 | 0 | 0 | 0